## Sheet1
Url | NodeId | Title | Subtitle | Content
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=12765 | 12765 | Code of Ordinances
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE | PTIICOOR_CH18BUBURE | Chapter 18 | BUILDINGS AND BUILDING REGULATIONS | Footnotes: --- (1) --- Editor's note— Ord. No. 2012-07, §§ 2, 3(Exh. A), adopted Aug. 6, 2012, repealed former Arts. II—VIII, §§ 18-25—18-296, and enacted new Arts. I—IV as set out herein. Former Arts. I—VII pertained to similar subject matter and derived from Code 1955, §§ 7-1—7-1.2, 7-3—7-5.1, 9-1, 9-2, 9-8.6, 9-8.8, 9-8.9, 9-8.11, 9-8.12, 9-8.14, 9-8.16, 9-8.17, 9-8.19, 12-1—12-12, 13-41—13-45, 19-1, 19-2, 19-4, 19-7—19-21, 19-23, 19-23.1, 24-1 and 908.13; Ord. No. 1664-A, §§ 1, 2, 4—6, adopted March 6, 1995; Ord. No. 1760-A, §§ 1—6, adopted Nov. 17, 1997; Ord. No. 1774-A, §§ 1—3, adopted Feb. 16, 1998; Ord. No. 1776-A, § 1, adopted March 16, 1998; Ord. No. 1888-A, § 1, adopted Nov. 15, 1999 and Ord. No. 2003-08, §§ 2, 3, adopted March 17, 2003. Cross reference— Standard amusement device code adopted, § 10-1; environment, ch. 38; fire prevention and protection, ch. 42; streets, sidewalks and certain other public places, ch. 66; utilities, ch. 78; connecting waterwells with city water lines prohibited, § 78-36; vegetation, ch. 82. State Law reference— Building construction standards, F.S. § 553.73.
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTICOST | PTIICOOR_CH18BUBURE_ARTICOST | ARTICLE I. | CONSTRUCTION STANDARDS
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTICOST_S18-1STCOAD | PTIICOOR_CH18BUBURE_ARTICOST_S18-1STCOAD | Sec. 18-1. | State codes adopted. | (a) Building Code. The most current edition of the "Florida Building Code," as promulgated by rule of the Florida Building Commission under authority of F.S. § 553.73(1)(a)(2011) including, but not limited to, all chapters and parts relating to building, residential, existing building, plumbing, fuel gas, mechanical, test protocols and energy, is adopted by reference and shall be enforced as the Building Code of the City of Bartow. (b) Fire and Lifesafety Codes. Consistent with Ordinance Number 2005-07, codified at sections 42-46 and 42-48, Code of Ordinances of the City of Bartow, and F.S. § 553.73(1)(c)(2011), the most current editions of the "Florida Fire Prevention Code" and "Life Safety Code," as promulgated by rule of the Florida Department of Financial Services, are adopted by reference and shall be enforced in the City of Bartow by reference in the Florida Building Code. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTICOST_S18-2ADAMFLBUCO | PTIICOOR_CH18BUBURE_ARTICOST_S18-2ADAMFLBUCO | Sec. 18-2. | Administrative amendments to the Florida Building Code. | By authority of F.S. § 553.73(4)(a)(2011), the following amendments are made to the administrative provisions of the Florida Building Code: (a) Section 101.4.5 of Chapter 1—Administration, Florida Building Code: Building is amended to read: 101.4.5 Property Maintenance. For provisions relating to property maintenance, refer to the Minimum Property Maintenance Standards of the City of Bartow as adopted by and amended from time to time by the City Commission of the City of Bartow. (b) Section 104.1 of Chapter 1—Administration, Florida Building Code: Building is amended to read: 104.1 Building Official. 104.1.1 Appointment. There shall be appointed within the City of Bartow a person qualified to serve in accordance with Part XII of F.S. Chapter 468 as Building Official for the City. 104.1.2 Powers and Duties of the Building Official. In addition to the minimum responsibilities of the Building Official identified by Florida law, the Building Official shall be the principal enforcer of this code and shall supervise and coordinate the work of all subordinate inspectors and plans examiners employed by the City of Bartow. 104.1.3 Occupancy. Whenever any building or portion thereof is being used or occupied in violation of the provisions of this code, as an alternative method for obtaining code compliance, the Building Official or his or her duly authorized representative shall order such use or occupancy discontinued and the building or portion thereof vacated until the same may be brought into compliance with this code. Such order shall be by notice, in writing, to the owner or owners of such building at the address or addresses shown on the most recent tax roll as prepared by the County stating the reasons for its issuance. Further, the building or structure shall be posted with substantially the following notice: "NOTICE OF SECTION 104.1.3 CLOSING This building or structure has been closed by Order of the Building Official of the City of Bartow pursuant to Section 104.1.3 of the Florida Building Code as amended by the Bartow Property Improvement Regulations Ordinance of 2012. For information, please call (863) 534-0100". 104.1.4 Concealed Work. The Building Official or his or her duly authorized representative may order portions of the structural frame of any building or structure to be exposed for inspection when, in the opinion of the Building Official or his or her duly authorized representative, there is good reason to believe that a building or structure or portion thereof is in an unsafe or dangerous condition or that there is willful or negligent concealment of a violation of this code. 104.1.5 Case Initiation Before the Special Magistrate. As an alternative means of enforcement, the Building Official may, in his or her discretion, initiate a case before the Special Magistrate pursuant to F.S. Chapter 162 for a violation of any provision of this code. With respect to the provisions of the Florida Building Code, the Building Official is a "code inspector" for purposes of F.S. Chapter 162. (c) Section 104.6 of Chapter 1—Administration, Florida Building Code: Building is amended to read: 104.6 Right of Entry. Upon presentation of proper credentials, the Building Official or his or her duly authorized representative may enter, at any reasonable time, any building, structure or premises for the purpose of inspection or to prevent violations of this code. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12; Ord. No. 2016-03, § 3, 1-19-16)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTICOST_S18-3PECORE | PTIICOOR_CH18BUBURE_ARTICOST_S18-3PECORE | Sec. 18-3. | Permit for construction required. | Permits shall be procured from the building official by every person, contractor, or subcontractor before: (1) Doing any work that requires issuance of a permit under Section 105.1 of Chapter 1—Administration of Florida Building Code: Building or F.S. Chapter 553; (2) Doing any electrical wiring or rewiring or altering, changing or attaching to any existing wiring within the corporate limits of the city, or doing any electrical wiring outside of the city limits that will receive electrical energy from city lines; (3) Doing any plumbing work or altering, changing or attaching to any existing plumbing; (4) Doing any structural work of any character, whether permanent or temporary; and (5) Doing any nonstructural work where the cost of materials exceeds $800.00. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTICOST_S18-4BUHOAPBOUR | PTIICOOR_CH18BUBURE_ARTICOST_S18-4BUHOAPBOUR | Sec. 18-4. | Building and housing appeals board—Jurisdiction. | Consistent with Ordinance Number 2003-08, in addition to any other jurisdiction given to it by this chapter or the form codes adopted herein, the building and housing appeals board is vested with jurisdiction to hear and decide all appeals from decisions of the building official made pursuant to the building and housing codes adopted by or applicable to the City of Bartow. It is the intent of the city commission that the building and housing appeals board serve as the "local board or agency" responsible for enforcement, interpretation and regulation of the Florida Building Code within the city, consistent with the requirements of F.S. § 553.73(1)(e)(2011). However, it is the express intent of the city commission that the city commission shall retain and reserve unto itself jurisdiction to consider all other statutory matters such as the creation of a schedule of fees and the consideration of substantive local Florida Building Code amendments. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTICOST_SS18-5--18-14RE | PTIICOOR_CH18BUBURE_ARTICOST_SS18-5--18-14RE | Secs. 18-5—18-14. | Reserved.
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIIMIPRMAST | PTIICOOR_CH18BUBURE_ARTIIMIPRMAST | ARTICLE II. | MINIMUM PROPERTY MAINTENANCE STANDARDS
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIIMIPRMAST_S18-15PRMACOAD | PTIICOOR_CH18BUBURE_ARTIIMIPRMAST_S18-15PRMACOAD | Sec. 18-15. | Property Maintenance Code adopted. | The International Property Maintenance Code, 2009 edition, as published by International Code Council, Inc. is hereby adopted and incorporated by reference as the Minimum Property Maintenance Standards of the City of Bartow subject to and including by reference such additions and amendments that may be adopted by the city by ordinance. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIIMIPRMAST_S18-16MOAMDE | PTIICOOR_CH18BUBURE_ARTIIMIPRMAST_S18-16MOAMDE | Sec. 18-16. | Modifications, amendments, deletions. | Content is too large for cell.
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIIMIPRMAST_S18-17OUSTDEPRPR | PTIICOOR_CH18BUBURE_ARTIIMIPRMAST_S18-17OUSTDEPRPR | Sec. 18-17. | Outdoor storage of derelict property prohibited. | (a) For purposes of this section: Derelict property means one or more pieces of inoperable automotive or marine machinery, one or more inoperable household appliances or accumulations of scrap metal, plastic or other junk materials. Inoperable means either malfunctioning, broken, wrecked, partially dismantled, in a current state of disrepair or unable to be used in the manufacturer's intended manner because of a legal infirmity. Temporarily means a reasonable period of time under the circumstances, but shall in no case exceed 21 days. (b) It is illegal for a person to store derelict property or allow derelict property to be stored in the city unless such property: (1) Is stored within a fully enclosed and lawfully constructed building; (2) Is stored on the premises of a business enterprise engaged in commerce related to the sale or repair of derelict property, provided that if the business is an automotive or marine repair or storage facility that the derelict property is not stored outdoors for more than 180 total days; (3) Is stored by a government agency on government-owned property; or (4) Is stored temporarily on real property owned by the derelict property's owner during such time as repairs to the derelict property are being pursued with due diligence provided that the necessary repair work does not constitute a nuisance to others and all other applicable laws are followed. (c) Derelict property may be removed and impounded by the city at its option. If derelict property is so impounded, the owner of the same will be responsible for payment of all city-incurred storage and transportation costs prior to its release. Before removal, the city shall give ten days' notice to either: (1) The owner of the realty where such derelict property is situated by certified mail, return receipt requested; or (2) To the general public by placarding such property with a warning on bright colored heavy stock paper that states the date of issuance and the date of the end of the ten-day notice period. Before the expiration of the notice period, the derelict property's owner may petition the city for a hearing before the city manager or his or her designee by filing a written request for the same with the city clerk. The factual issues to be decided at hearing shall be limited to whether or not the subject property qualifies as derelict property and whether or not a valid storage exception applies. Once rendered, the city manager's decision is final. (d) The outdoor storage of derelict property shall constitute cause for the city to proceed with removal and impoundment pursuant to this section. The burden of proof that derelict property is subject to a storage exception shall lie with the derelict property's owner. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIIMIPRMAST_SS18-18--18-24RE | PTIICOOR_CH18BUBURE_ARTIIMIPRMAST_SS18-18--18-24RE | Secs. 18-18—18-24. | Reserved.
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIIIDIUNDANOST | PTIICOOR_CH18BUBURE_ARTIIIDIUNDANOST | ARTICLE III. | DILAPIDATED, UNSAFE, DANGEROUS OR NONCOMPLIANT STRUCTURES
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIIIDIUNDANOST_S18-25DEUNDIST | PTIICOOR_CH18BUBURE_ARTIIIDIUNDANOST_S18-25DEUNDIST | Sec. 18-25. | Demoltion of unsafe or dilapidated structures. | (a) As an alternative means of code enforcement, the building official may order the owner of any premises upon which is located any structure that is dilapidated as defined by this section or has become so out of repair as to be dangerous, unsafe, insanitary or otherwise unfit for human habitation or occupancy, and such that it is unreasonable to repair the structure, to demolish and remove such structure; or if such structure is capable of being made safe by repair, and make safe and sanitary or to demolish and remove at the owner's option; or where there has been a cessation of normal construction of any structure for a period of more than two years, to demolish and remove such structure or reopen or pull new permits to complete construction of the structure in accordance with the Florida Building Code within 30 days of receipt of notice of demolition issued pursuant to subsection (d)(2) of this section. (1) Dilapidated structure. There shall be a rebuttable presumption that a structure shall be considered dilapidated for the purpose of this article when the value of the structure is less than the estimated cost of repairing the structure to a state where the structure complies with the Florida Building Code. This term shall, without limitations, include any building, structure, or mobile home. a. Value of structure. In determining the value of the structure, the building official shall use the most recent value on record with the Polk County property appraiser's office unless another value is provided by the Polk County property appraiser's office, in which case that value shall be used. b. Cost of repairs. In determining the cost of repairs, the building official shall use the cost of repairs of structures as determined by ICC building cost data with local adjustments or resolution of the city commission. (b) Demolition and removal or repair by owner. Dilapidated or unsafe structure(s) shall be demolished and the debris removed to an authorized landfill or repaired to comply to the Florida Building Code within 30 days of the notice being published pursuant to subsection (d)(2) of this section, unless an extension of time has been granted or an appeal has been filed pursuant to this section. (c) Demolition and removal by city. Unless an extension of time has been granted pursuant to this section or an appeal has been filed pursuant to this section, in the event the dilapidated structure is not demolished or repaired to comply to the Florida Building Code within 30 days of the notice being published pursuant to subsection (d)(2) of this section, the building official is hereby authorized and empowered to have the dilapidated or unsafe structure demolished. If an extension of time has been granted pursuant to this section and the dilapidated or unsafe structure is not repaired to comply to the Florida Building Code or demolished by the date contained in the notice of extension time issued pursuant to this section, the building official is hereby authorized and empowered to have the dilapidated or unsafe structure demolished. Pulling of a permit to repair or demolish the structure shall not extend the time stated herein for the structure to be repaired to comply with the Florida Building Code or be demolished. No action to demolish shall be taken in connection with a structure which is subject of any pending judicial procedure. (d) Notice requirements. Notices pursuant to this section shall be as follows: (1) Courtesy notice. Upon initial investigation by the building official to determine if a structure qualifies for demolition, the building official may placard the structure giving the owner notice that the structure is being considered for a demolition notice by the building official and include contact information in which the owner may contact for further information. (2) Demolition notice. Whenever the building official has determined a structure qualifies for demolition pursuant to this section, the building official shall post a notice in a conspicuous place in or about the structure(s) or property containing the structure, send a copy of the notice to the owner of the property as listed with the Polk County property appraiser's office or public records of the city by certified mail and publish the notice once during each week for two consecutive weeks in a newspaper of general circulation. Evidence that an attempt has been made to mail notice as provided herein, together with proof of publication, shall be sufficient to show that the notice requirements of this article have been met, without regard to whether or not the owner actually received notice. A copy of the notice shall also be sent to any mortgage or lien holders which have a recorded interest in the public records of Polk County, Florida, against the property containing the structure. The notice shall be in a form approved by the building official which shall include the following information: a. State that the structure qualifies for demolition pursuant to this article; b. Specify the corrective action that must be taken; c. Specify the date in which the corrective action must be taken; d. State the owner has the right to appeal the building official's decision by filing a written request with the city clerk's office within ten days of publication of the notice of demolition; e. State that the owner's failure to request an appeal within ten days shall be deemed a waiver of the owner's right to contest the building official's determination; and f. State that the owner may contact the building official or his or her designee to in writing before the expiration of the time for appeal to request an extension of time to repair or demolish the structure. (e) Appeal process. Within ten days after the demolition notice is first published as provided herein, the owner may deliver a written request to the city clerk's office requesting a hearing to show that the condition alleged in the notice does not exist, if such date falls on a Saturday, Sunday or county holiday, then the individual shall have until the end of the next business day which is neither a Saturday, Sunday, nor county holiday to request a hearing. Failure to file an appeal shall be deemed a waiver of the owner's rights to appeal the administrative action. If properly appealed, the special magistrate shall hear the appeal on its next regularly scheduled agenda unless an emergency hearing is requested by the building official pursuant to this section. The owner seeking an appeal shall be mailed written notice of the date and location of the scheduled hearing. The hearing shall be conducted in accordance to the special magistrate's rules of procedures. The building official shall have the burden of proving that the structure qualifies for demolition in accordance to this section by preponderance of the evidence. The decision of the magistrate shall be final. Further review of the magistrate's decision shall be by writ of certiorari in the circuit court in accordance with the Florida Appellate Rules. (1) If the building official believes that the structure subject to the demolition notice is an immediate threat to the public health, safety or general welfare, the building official may request an emergency hearing before the special magistrate. The owner shall be mailed notice of such hearing containing the location, time and date of the hearing. (f) Extension of time to demolish or repair dilapidated or unsafe structure. The owner may request in writing an extension of time from the building official or his or her designee. Such written request shall state the basis of such request and be received by the building official prior to the date of expiration of the applicable appeal period. Such request shall be granted or denied in writing within five days of the building official or designee's receipt of the request. If such request is not granted within five days then it shall be deemed denied. The extension of time is at the sole discretion of the building official or his or her designee and shall be final and may not be appealed. (g) Assessment of costs. The costs for demolition, removal of debris and any additional costs incurred by the city after the property owner failed to demolish or repair the structure to comply with the Florida Building Code within the time allowed under subsection (c) of this section shall be assessed against the property upon which the structure was situated. Where the full amount due the city is not paid by the property owner within 30 days after the date of mailing of the bill of costs, the code official shall cause to be recorded in the public records of the county, a sworn statement showing the cost and expense incurred for the work and the date, place and property on which such work was done, and the recordation of such sworn statement shall constitute a special assessment lien on the property equivalent to the lien of municipal taxes and taking precedence over all other recorded liens, and shall remain in full force and effect for the amount due on principal and interest, plus costs of court, if any, for collection, until final payment has been made. Such special assessment lien may be foreclosed in the manner provided for by general law. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12; Ord. No. 2016-03, § 3, 1-19-16)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIIIDIUNDANOST_S18-26STUNBUABCOPTMEEN | PTIICOOR_CH18BUBURE_ARTIIIDIUNDANOST_S18-26STUNBUABCOPTMEEN | Sec. 18-26. | Standard Unsafe Building Abatement Code—Optional means of enforcement. | As a further optional and alternative means of enforcement, the Standard Unsafe Building Abatement Code, 1985 edition, as such code may be amended from time to time, is hereby adopted and may be employed by the building official to remedy any structure existing in violation thereof. A copy of the Standard Unsafe Building Abatement Code may be found on file with the city clerk's office. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIIIDIUNDANOST_S18-27COENBOAUISDEOR | PTIICOOR_CH18BUBURE_ARTIIIDIUNDANOST_S18-27COENBOAUISDEOR | Sec. 18-27. | Code enforcement board authorized to issue demolition orders. | The city commission finds that the special magistrate's grant of authority and power pursuant to F.S. §162.08(5) to "issue orders having the force of law to command whatever steps are necessary to bring a violation into compliance" includes the ability to order demolition of offending structures when, in the magistrate's opinion, either: (a) The structure is so out of repair as to be dangerous, unsafe, insanitary or otherwise unfit for human habitation or occupancy; or (b) All other reasonable means of code enforcement, except lien foreclosure, have failed to bring a violation into compliance. Upon making such a finding, after a duly noticed and convened hearing on the subject property pursuant to applicable Florida law, the special magistrate shall cause notice to be issued, pursuant to F.S. §162.12, to the violator and to all persons holding valid mortgage or lien interests in the subject parcel setting forth the date, time and place where objections to demolition as a remedy may be heard. The hearing shall convene and be conducted in accordance with Part I of F.S. Chapter 162 and the magistrate may, at that time, issue a final order pursuant to §162.08(5) authorizing demolition or take such other action as it may deem appropriate under the circumstances. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12; Ord. No. 2016-03, § 3, 1-19-16)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIIIDIUNDANOST_S18-28ASDE | PTIICOOR_CH18BUBURE_ARTIIIDIUNDANOST_S18-28ASDE | Sec. 18-28. | Assessment for demolition. | (a) Establishment of special assessment district. The City of Bartow, in its entirety, as its city boundaries exist on the date of enactment of this section and as they may be expanded or contracted from time to time, is hereby declared a special assessment district for the purposes of the demolition of unsafe or otherwise offending structures pursuant to section 18-25 or 18-27 of the Code of Ordinances. Individual properties within the city's boundaries, as they may exist from time to time, may be assessed for the costs incurred by the city for demolition of unsafe or otherwise offending structures pursuant to section 18-25 or 18-27. (b) Levy of non-ad valorem assessments. There is hereby levied, and the city commission is authorized to levy from time to time, a non-ad valorem assessment against each and every property in the city: (1) On which a demolition occurs or has occurred, pursuant to section 18-25 or 18-27 of the Code of Ordinances; (2) The city undertakes or has undertaken action, pursuant to section 18-25 or 18-27, to demolish an unsafe or otherwise offending structure and, thereby, incurs or has incurred costs; and (3) The property owner and, if applicable, the agent, custodian, lessee, or occupant of the property fails or refuses or has failed or refused, for whatever reason, to pay timely the amount owed to the city under section 18-25 or 18-27 for the costs incurred by the city in carrying out said demolition. (c) Collection of non-ad valorem assessments. The city commission elects to use the uniform method to impose and collect non-ad valorem assessments against properties on which demolitions of unsafe structures occur or have occurred. The non-ad valorem assessments collected pursuant to this section will be included in the combined notice for ad-valorem taxes and non-ad valorem assessments as provided in F.S. § 197.3635. Non-ad valorem assessments collected pursuant to this section are subject to all collection provisions in F.S. § 197.3632, including provisions relating to discount for early payment, prepayment by installment method, deferred payment penalty for delinquent payment, and issuance and sale of tax certificates and tax deeds for nonpayment. (d) Agreement to reimburse the county property appraiser and the county tax collector. In order to use the uniform method for the levy, collection, and enforcement of the non-ad valorem assessments, the city is authorized to enter into a written agreement with the county property appraiser and the county tax collector providing for the reimbursement of their costs incurred in the administration and collection of the non-ad valorem assessments levied under this section. (e) Resolution adopted. The City Commission has adopted a resolution at a public hearing prior to January 1, 2020, in accordance with subsection F.S. § 197.3632(3), which resolution states the following: (1) The city's intent to use the uniform method of collecting non-ad valorem assessments. (2) The city's need for the imposition of the non-ad valorem assessments. (3) The entire city is declared a special assessment district, with individual properties being subject to the non-ad valorem assessment from time to time if and when code enforcement fines and liens occur. The city will comply with all statutory notice prerequisites set forth in F.S. § 197.3632. (f) Annual non-ad valorem assessment roll. Each year, the city commission will approve a non-ad valorem assessment roll at a public hearing between January 1 and September 15. The non-ad valorem assessment roll will be comprised of properties that have had levied against them non-ad valorem assessments under this section and such assessments have not otherwise been paid in full prior to approval of the roll. The city manager and the city attorney are authorized and directed each year to prepare the notice that must be sent by first class United States mail, as required by F.S. § 197.3632(4)(b). The notice to be sent by first class mail will be sent to each person owning property that will be on the non-ad valorem assessment roll and will include the following: (1) The purpose of the assessment; (2) The total amount to be levied against the parcel, which includes the actual cost incurred by the city; (3) A statement that failure to pay the assessment will cause a tax certificate to be issued against the property, which may result in a loss of title; (4) A statement that all affected property owners have a right to appear at the hearing and to file written objections with the local governing board within 20 days of the notice; and (5) The date, time, and place of the hearing. Upon its approval by the city commission, the non-ad valorem assessment roll will be certified to the tax collector as required by law. (Ord. No. 2020-08, § 2, 3-16-20)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIIIDIUNDANOST_SS18-29--18-49RE | PTIICOOR_CH18BUBURE_ARTIIIDIUNDANOST_SS18-29--18-49RE | Secs. 18-29—18-49. | Reserved.
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR | PTIICOOR_CH18BUBURE_ARTIVLEPR | ARTICLE IV. | LEGACY PROVISIONS
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-50PEVICH | PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-50PEVICH | Sec. 18-50. | Penalty for violation of chapter. | It shall be unlawful for any person to violate any of the provisions of chapter 18 of the Code of Ordinances of the City of Bartow or any of the provisions of the form codes adopted therein. As an alternative method of code enforcement, the city may initiate prosecution for a violation and seek imposition of penalties in accordance with section 1-14. Nothing herein shall limit the city from utilizing other means of code enforcement. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-51NAELCOADREEX | PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-51NAELCOADREEX | Sec. 18-51. | National Electrical Code adopted by reference; exception. | (a) The city does hereby adopt and by reference makes a part of this article the National Electrical Code, 2008 edition, as prepared by the National Fire Protection Association, as such code may be amended from time to time, and all equipment, materials, devices and appliances used shall be listed as approved for the purpose used by the Underwriters' Laboratories, Inc., it being understood that both this article as well as the adopted National Electrical Code shall be liberally construed so that the people of the city shall be protected to the fullest extent, and should there be a conflict between this article and the electrical code, this article shall be followed. (b) It shall be expressly understood that the National Electrical Code as referred to in this section is hereby adopted as the minimum requirements for all electrical construction and all materials and appliances used in connection with the installation, maintenance and operation of electrical wiring, apparatus or equipment for light, heat or power within the limits of the city or outside the city limits whenever its source of supply is from the electrical distribution lines of the city. (c) As long as there is in the official files of the city an instrument executed by the appropriate officer of the county, approved by the city manager, certifying that the minimum electric requirements and the inspections performed thereunder by the appropriate office, agency or department of the county are equal to or stricter than the minimum requirements of this article, no electrical inspection shall be performed by the city outside its corporate limits, except on the premises known as the Bartow Municipal Airport. The city manager, not less than annually, shall review the electrical code currently being enforced by the county to determine whether the minimum requirements thereunder are equal to or stricter than the requirements of this article, and he shall report his findings and recommendations to the city commission. If the city manager shall determine at any time that the minimum county requirements and/or the enforcement thereof are not equal to or stricter than the minimum requirements of this article, he may permanently or temporarily withdraw his approval from such certificate, which act shall have the immediate effect of reinstating the provisions of this article as to all property outside the corporate limits served from the electrical distribution lines of the city. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-52SE | PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-52SE | Sec. 18-52. | Services. | (a) It shall be unlawful for any person, except a qualified city employee, to make any connection to any city service drop or line wires or tap a meter base for the purpose of using electric energy while the meter is removed or disconnected, except by special permission of the city electrical inspector. (b) All service wires must be installed in rigid metal conduit from the service head or fitting to the master disconnect switch and only one disconnect switch shall be permitted to each metered installation, except by special permission of the electrical inspector. (c) All services shall extend through the roof by way of a mast except by special permission of the city electrical inspector. (d) All conduits used as masts shall be a minimum two-inch and larger as per the electrical inspector's request. All two-inch masts shall be a maximum of 24 inches above the roof line. (e) No services installed within or on buildings shall be smaller than 100 amperes. (f) All services shall be located as directed by the superintendent of the electrical department. (g) Wires projecting from the service head fitting shall not be less than 26 inches long and shall be longer if necessary. (h) Each separately metered installation shall be controlled by an enclosed fused switch or circuit breaker unless permission to do otherwise is specifically authorized by the city electrical inspector. (i) Wires of separately metered installations shall not occupy the same conduit or enclosure. (j) Threadless fittings shall not be permitted in service conduit, with the exception of weather heads. (k) All temporary services for power or lights will have a permit and be inspected. The temporary service must be of sufficient capacity to carry the construction until after the final inspection and must be located so as not to interfere with any construction, grading or paving. The service shall be sized to meet safety requirements as determined by the inspecting official. (l) Liquid, steam or gas lines shall not pass over switchboards, panelboards, or meters. (m) All buildings, except one- and two-family dwellings, shall have a main disconnect switch and/or a shunt trip located on the outside of the building. The location shall be approved by the building official. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-53WAURME | PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-53WAURME | Sec. 18-53. | Watt-hour meters. | (a) All watt-hour meters shall be readily accessible, shall be installed on the outside of buildings and structures, and meter sockets and boxes shall be installed so that the watt-hour meter will be approximately five feet above ground level. (b) All meter loops except those for primary metering shall be installed and wired by the electrical contractor. (c) It shall be unlawful for any person to bypass, short out, or damage any electric meter so that it will not correctly register the watt hours used. (d) No two or more buildings shall be served through one electric meter unless they are under the same management or ownership on the same premises and are used for the same class of occupancy. (e) Separate electric meters shall be installed for each family unit in apartment houses and garage apartments except by special permission of the electrical inspection department. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-54MO | PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-54MO | Sec. 18-54. | Motors. | (a) Motors of one-third horsepower and larger shall be wired on an individual circuit and shall be provided with a disconnecting means, except in the case of group installations. (b) No water pump motor larger than two horsepower can be installed on a residential meter unless this motor is used as a working part of a water cooled air conditioning installation. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-55SPRE | PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-55SPRE | Sec. 18-55. | Special regulations. | (a) All interior wiring systems shall be properly grounded. The wire in the grounding conductor shall be copper and not less than number 4 AWG wire. The grounding conductor shall be connected to a minimum of two eight feet of steel, copper-clad grounding rods, properly driven. (b) The use of armored cable and type "c" cord is prohibited. (c) All branch circuit wiring must have a minimum number 12 AWG copper grounding conductor and/or two trade sizes smaller than the underground conductors of a circuit. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-56TAOVPR | PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-56TAOVPR | Sec. 18-56. | Tampering with overcurrent protection. | It shall be unlawful for any person, in any manner, to bridge or tamper with a fuse, circuit breaker, or any similar thermal protection or change it so that it will not properly protect the wiring or equipment which it is designed to protect. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-57EXWOSTPUPRPERE | PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-57EXWOSTPUPRPERE | Sec. 18-57. | Excavations and work in streets or public property; permit required. | It shall be unlawful for any person to make any cut or trench in any street, parkway, park or other public property or to disturb or remove any public work, property or material therein, or to turn, lift, remove, raise, tamper with or do any work with any manhole cover, basin inlet, pipe or other appurtenance of any public sewer without a prior written permit from the city manager, which permit shall be kept on the work to be exhibited to persons authorized to examine the same. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-58SEBSUN | PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-58SEBSUN | Sec. 18-58. | Sewers—Obstructing unlawful. | No person shall do any act or permit any condition which may impair or obstruct the flow of any public sewer or clog up any appurtenance thereof, or place therein any substance, solid or liquid, other than those waste products for which the sewers are provided. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-59SAONBURE | PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-59SAONBURE | Sec. 18-59. | Same—Connection for buildings required. | Every building now placed or to be built in a location within 200 feet of any public sewer shall be connected to it. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-60SAERCORE | PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-60SAERCORE | Sec. 18-60. | Same—Permit for connection required. | No person shall connect or cause to be connected the drainage system of any building, lot, or premises with any portion or part of a public sewer without first securing a sewer tap permit from the city. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-61HAINPL | PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-61HAINPL | Sec. 18-61. | Hazardous and insanitary plumbing. | Where any plumbing, new or old, is found to be in a hazardous, insanitary, unhealthful, or dilapidated condition, it shall be abated by repair or removal within three days, unless a longer time interval is allowed by the building official. If repairs and work are not done within the time limit specified, occupancy and use of the building and premises shall be immediately prohibited. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-62OCBUPRPRAPPLIN | PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-62OCBUPRPRAPPLIN | Sec. 18-62. | Occupancy of buildings prohibited prior to approval of plumbing inspector. | No owner, agent or tenant shall occupy any new or remodeled building in the city nor shall the water be turned on by the water department or by any other person to any such building until after all the plumbing in the building has been approved by the building official. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-63SETACOSTRE | PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-63SETACOSTRE | Sec. 18-63. | Septic tanks to conform to state regulations. | When a sewer is not available and a septic tank must be used, such septic tank shall be installed in accordance with the regulations required by the state. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-64SEWASEPIRE | PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-64SEWASEPIRE | Sec. 18-64. | Separate water service pipe required. | The water service pipe for any building, lot or premises shall not be laid over or through any other building, lot or premises and no person shall connect or cause to be connected any building, lot or premises with the water service pipe belonging to or supplying any other building, lot or premises, except that stables and other small outhouses in the rear of buildings used in connection with such buildings as supplementary buildings may be supplied with the same service pipe. For any violation of this section, the water may be cut off until such violation is corrected. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-65FI | PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-65FI | Sec. 18-65. | Fixtures. | The owner or agent of any building or dwelling, or any place where persons are sheltered or employed, shall cause to be installed at least one water closet and one sink for each family, with the proper water supply and sewer connections for each such water closet and sink. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-66WASUCOBABEREAC | PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-66WASUCOBABEREAC | Sec. 18-66. | Waste and supply connections to bathtub to be readily accessible. | The waste and supply connections to every bathtub must be readily accessible. The installation of a suitable access door or panel in the partition wall of a building sufficiently large and so placed that necessary repairs can be made to the waste and supply connections without removing the tub, a water heater, or any fixed portion of the building will make the waste and supply connections readily accessible. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-67SASP | PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-67SASP | Sec. 18-67. | Sanitation specifications. | The following sanitation and safety regulations will be enforced: (1) No two water using fixtures, bibbs or faucets shall be connected to a one-half inch cold water line. (2) A hose-bib shall be installed at the intersection of the service lateral and the principal building. (3) A separate water meter shall be installed for each family unit of any remodeled or new apartment houses of two or more family units, except by special permission of the city manager. (4) Backflow devices shall be installed on all irrigation systems and in all new commercial buildings when built or renovated. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-68GADIUNRENEDW | PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-68GADIUNRENEDW | Sec. 18-68. | Garbage disposal unit required in new dwellings. | Every new dwelling constructed within the city shall be equipped with an operable food waste grinder, commonly known as a garbage disposal unit, constructed and installed in accordance with written standards and specifications established and promulgated by the city manager or his designee and filed with the city clerk. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-69ABVE | PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-69ABVE | Sec. 18-69. | Abandoned vehicles. | Whenever a code enforcement officer or the building official shall ascertain that an abandoned vehicle is present on public or private property, he shall cause a notice to be placed upon such vehicle in substantially the following form: "NOTICE TO THE OWNER AND ALL PERSONS INTERESTED IN THE ATTACHED This property, to wit: ___________ (setting forth brief description) is unlawfully upon public or private property known as ___________ (setting forth brief description of location) and must be removed within ten days from the date of this notice, otherwise it shall be presumed to be an abandoned vehicle and will be removed and disposed of by an order of the City of Bartow. Dated this: ________/________/________ (setting forth the date of posting of notice). Signed: ___________ (setting forth name, title, address and telephone number of enforcement officer)." Such notice shall not be less than eight inches by ten inches and shall be sufficiently weatherproof to withstand normal exposure to the elements. In addition to posting, the building inspector shall make a reasonable effort to ascertain the name and address of the property owner, and if such is reasonably available to him, he shall mail a copy of such notice to the property owner on the date of posting. If at the end of ten days after posting such notice, the owner or any person interested in the abandoned vehicle described in such notice has not removed the abandoned vehicle from public or private property or shown reasonable cause for failure to do so, the building inspector may cause the abandoned vehicle to be removed and disposed of, and the salvage value, if any, of such abandoned vehicle shall be retained by the city to be applied against the cost of removal and disposition thereof. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-70HONU | PTIICOOR_CH18BUBURE_ARTIVLEPR_S18-70HONU | Sec. 18-70. | House numbering. | The street numbers of all houses and buildings in the city shall be such as may be assigned by the city manager. The owners or occupants of all houses, stores, and other premises are required to make application to the building department for the assignment of a correct street number within 30 days after erection of any new building or within 30 days after occupancy of any existing building which is not numbered, and display the number so assigned on the particular building or occupied premises. (Ord. No. 2012-07, §§ 2, 3(Exh. A), 8-6-12)
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTIVLEPR_SS18-71--18-300RE | PTIICOOR_CH18BUBURE_ARTIVLEPR_SS18-71--18-300RE | Secs. 18-71—18-300. | Reserved.
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTVRE | PTIICOOR_CH18BUBURE_ARTVRE | ARTICLE V. | RESERVED | Footnotes: --- (2) --- Editor's note— Ord. No. 2021-12, § 1, adopted Sept. 8, 2021, repealed Art. V in its entirety, which pertained to Flood Damage Prevention, and derived from Ord. No. 1899-A, § 2, adopted Feb. 21, 2000.
https://library.municode.com/FL/Bartow/codes/Code_of_Ordinances?nodeId=PTIICOOR_CH18BUBURE_ARTVRE_SS18-301--18-320RE | PTIICOOR_CH18BUBURE_ARTVRE_SS18-301--18-320RE | Secs. 18-301—18-320. | Reserved.